## Current - Rotational Blocks
Monday | [5 empty] | Tuesday |  |  |  |  | Wednesday |  |  |  |  | Thursday |  |  |  |  | Friday | [5 empty] | Saturday | [5 empty] | Sunday
TIME |  | S3 |  |  |  | TIME |  | S3 |  |  | TIME |  | S3 |  |  | TIME |  | S3 |  |  | TIME |  | S3 |  |  |  | TIME |  | S3 |  |  |  | TIME |  | S3
0:00 | 2:30 |  |  |  |  | 0:00 | 2:30 |  |  |  | 0:00 | 2:30 | 13 |  |  | 0:00 | 2:30 |  |  | 13 | 0:00 | 2:30 | 7 | 4 | 14 | 10 | 0:00 | 2:30 |  |  |  |  | 0:00 | 2:30
2:00 | 4:30 |  |  |  |  | 2:00 | 4:30 |  |  |  | 2:00 | 4:30 |  |  |  | 2:00 | 4:30 |  |  |  | 2:00 | 4:30 | 8 | 1 | 15 | 11 | 2:00 | 4:30 |  |  |  |  | 2:00 | 4:30
4:00 | 6:30 |  |  | 13 |  | 4:00 | 6:30 |  | 13 |  | 4:00 | 6:30 |  |  |  | 4:00 | 6:30 |  |  |  | 4:00 | 6:30 | 5 | 2 | 16 | 12 | 4:00 | 6:30 |  |  |  |  | 4:00 | 6:30
|  | S2 | [5 empty] | S 2 |  |  |  |  | S 2 |  |  |  |  | S 2 |  |  |  |  | S 2 | [5 empty] | S 2 | [5 empty] | S 2
|  | S1 | [5 empty] | S1 |  |  |  |  | S 1 |  |  |  |  | S 1 |  |  |  |  | S 1 | [5 empty] | S 1 | [5 empty] | S 1
6:00 | 8:30 |  |  |  |  | 6:00 | 8:30 |  |  |  | 6:00 | 8:30 |  |  |  | 6:00 | 8:30 |  |  |  | 6:00 | 8:30 |  |  |  |  | 6:00 | 8:30 |  |  |  |  | 6:00 | 8:30
8:00 | 10:30 |  |  |  |  | 8:00 | 10:30 |  |  |  | 8:00 | 10:30 |  |  |  | 8:00 | 10:30 |  |  |  | 8:00 | 10:30 |  |  |  |  | 8:00 | 10:30 |  |  |  |  | 8:00 | 10:30
10:00 | 12:30 |  |  |  |  | 10:00 | 12:30 |  |  |  | 10:00 | 12:30 |  |  | 13 | 10:00 | 12:30 |  | 13 |  | 10:00 | 12:30 |  | 13 |  |  | 10:00 | 12:30 | 13 |  |  |  | 10:00 | 12:30 | 13
12:00 | 14:30 |  |  |  |  | 12:00 | 14:30 |  |  |  | 12:00 | 14:30 |  |  |  | 12:00 | 14:30 |  |  |  | 12:00 | 14:30 |  |  |  |  | 12:00 | 14:30 |  |  |  |  | 12:00 | 14:30
14:00 | 16:30 |  | 13 |  |  | 14:00 | 16:30 | 13 |  |  | 14:00 | 16:30 |  |  |  | 14:00 | 16:30 |  |  |  | 14:00 | 16:30 |  |  |  | 13 | 14:00 | 16:30 |  |  | 13 |  | 14:00 | 16:30 |  |  | 13
16:00 | 18:30 |  |  |  |  | 16:00 | 18:30 |  |  |  | 16:00 | 18:30 |  |  |  | 16:00 | 18:30 |  |  |  | 16:00 | 18:30 |  |  |  |  | 16:00 | 18:30 |  |  |  |  | 16:00 | 18:30
18:00 | 20:30 |  |  |  |  | 18:00 | 20:30 |  |  |  | 18:00 | 20:30 |  |  |  | 18:00 | 20:30 |  |  |  | 18:00 | 20:30 |  |  |  |  | 18:00 | 20:30 |  |  |  |  | 18:00 | 20:30
20:00 | 22:30 |  |  |  | 13 | 20:00 | 22:30 |  |  | 13 | 20:00 | 22:30 |  | 13 |  | 20:00 | 22:30 | 13 |  |  | 20:00 | 22:30 |  |  |  |  | 20:00 | 22:30 |  |  |  |  | 20:00 | 22:30
|  | S3 | [5 empty] | S3 |  |  |  |  | S3 |  |  |  |  | S3 |  |  |  |  | S3 | [5 empty] | S3 | [5 empty] | S3
22:00 | 0:30 |  |  |  |  | 22:00 | 0:30 |  |  |  | 22:00 | 0:30 |  |  |  | 22:00 | 0:30 |  |  |  | 22:00 | 0:30 |  |  | 13 |  | 22:00 | 0:30 | 6 | 13 | 4 | 11 | 22:00 | 0:30 | 6 | 13 | 4 | 11

## Block 9 - 16
BLOCK 9
Eskom that Shed Load | [8 empty] | Load shedding |  | Load Restoration
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments | MW | Time breaker Open | MW | Time breaker Closed
ESKOM | Polokwane TSA | Silica | Thabamoopo North 132kV | N | 30
ESKOM | Zebediela TSA | Lebowa | Transformer 1 33kV | N | 15
ESKOM | Zebediela TSA | Lebowa | Transformer 2 33kV | N | 15
ESKOM | Zebediela TSA | Gompies | Transformer 1 11kV | N | 10 |  |  | Don't shed Voorspoed mine
ESKOM | Naboomspruit TSA | Cromore | Zoetveld 22kV | N | 5
ESKOM | Rustenburg TSA | Turf Shaft | Marikana 88kV | NW | 15
ESKOM | Lephalale TSA | Matimba | Tom Burke 132kV | NW | 30 |  |  | Change Already effected both on Scada and FMS
| Lephalale TSA | Waterberg | Transformer 11 | NW | 7 | Shedding the Afguns and Marapong 22 kV feeders |  | Shedding the Afguns and Marapong 22 kV feeders
ESKOM | Northam TSA | Northam | Rooiberg Minerals 88kV | NW | 10
ESKOM | Dwaalboom TSA | Dwaalboom | Transformer 11 22kV | NW | 5 |  |  | May have supervisory problems
ESKOM | Dwaalboom TSA | Derdepoort | Transformer 1 22kV | NW | 5 |  |  | May have supervisory problems
ESKOM | Hennops TSA | Ucar Minerals | Transformer 11A+B 88kV | W | 10
ESKOM | Temba TSA | Pelly | Babelegi 132kV | W | 30 |  |  | HOS to open breaker on TEMSE
ESKOM | Temba TSA | Pelly | Temba 132kV | W | 30 |  |  | HOS to open breaker on TEMSE
ESKOM | Marathon TSA | Karino | Kanyamazane 132kV | E | 40
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate there own loads | HOS | 1.5
Lekwa Munic | Standerton Area | Munic | Rotate their own loads | E | 5.5
| Polokwane Area | Munic | Rotate their own loads | HOS | 10
| Middelburg | Munic | Rotate their own loads |  | 10
TOTAL LOAD REDUCTION |  |  |  |  | 284 | 0 | 0
BLOCK 10
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Mbombela Munic | Marathon TSA | Delta | Transformer 1 33kV | E | 25
Mbombela Munic | Marathon TSA | Delta | Transformer 3 33kV | E | 25
| Thlabane TSA | Donaldsvale | All 11kV feeders excl FireBridge | NW | 25 | Newly added to the schedule |  | Newly added to the schedule
| Thlabane TSA | Phokeng | Trfr 1 & 2 | NW | 10 | Newly added to the schedule |  | Newly added to the schedule
| Thlabane TSA | Bafokeng 7 | Trf 3A 11kV | NW | 10 |  |  | Moved from Block 12 to Block 10
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate there own loads | HOS | 1.5
Lekwa Munic | Standerton Area | Munic | Rotate their own loads | E | 5.5
| Middelburg | Munic | Rotate their own loads |  | 10
Tshwane Munic | Pretoria Area | Munic | Rotate their own loads | HOS | 130
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Rustenburg Munic | Rustenburg Area | Munic | Rotate their own loads | HOS | 20
TOTAL LOAD REDUCTION |  |  |  |  | 272 | 0 | 0
BLOCK 11
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Embalenhle Munic | Wildebees TSA | Sol | Langverwaght 1 22kV | S | 10 |  |  | HOS to open on TEMSE
Embalenhle Munic | Wildebees TSA | Sol | Langverwaght 2 22kV | S | 10 |  |  | HOS to open on TEMSE
Kinross Munic | Wildebees TSA | Wildebees | Transformer 11 and 12 22kV breaker | S | 3 |  |  | Kinross 1 22kV - affected
Kinross Munic | Wildebees TSA | Wildebees |  | S | 3 |  |  | Kinross 2 22kV- affected
Kinross Munic | Wildebees TSA | Wildebees |  | S | 4 |  |  | Trichardt 22kV- affected
Evander Munic | Wildebees TSA | Wildebees |  | S | 2.5 |  |  | Evander 1 22kV - affected
Evander Munic | Wildebees TSA | Wildebees |  | S | 2.5 |  |  | Evander 2 22kV - affected
Makhado Munic | Ha-Ravele TSA | Louis Trichardt | Transformer 1 22kV | FN | 15
Makhado Munic | Ha-Ravele TSA | Louis Trichardt | Transformer 2 22kV | FN | 15
Makhado Munic | Ha-Ravele TSA | Louis Trichardt | Transformer 3 22kV | FN | 15
Bethal Munic | Bethal TSA | Bethal | Bethal munic 1 11kV | W | 5
Bethal Munic | Bethal TSA | Bethal | Bethal munic 2 11kV | W | 5
Bethal Munic | Bethal TSA | Bethal | Bethal munic 3 22kV | W | 10
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate there own loads | HOS | 1.5
| Middelburg | Munic | Rotate their own loads |  | 10
Lekwa Munic | Standerton Area | Munic | Rotate their own loads | E | 5.5
Tshwane Munic | Pretoria Area | Munic | Rotate their own loads | HOS | 130
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Lephalale Munic | Bela-Bela Area | Munic | Rotate their own loads | HOS | 15 |  |  | Phone Tienie 082 566 8522 Jan 083 236 0454
Rustenburg Munic | Rustenburg Area | Munic | Rotate their own loads | HOS | 20
TOTAL LOAD REDUCTION |  |  |  |  | 292 | 0 | 0
BLOCK 12
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Modimolle Munic | Modimolle TSA | Nylstroom | Trf 11 132kV | N | 30
Mookophong Munic | Naboomspruit TSA | Naboomspruit | Trf 1 11kV | N | 15
Burgersfort Munic | Steelpoort TSA | Merensky | Burgersfort 22kV | E | 10
Municipalities that Rotate Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Barberton MUNIC | Baberton Area | Munic | Rotate there own loads | HOS | 1.5
Lekwa Munic | Standerton Area | Munic | Rotate their own loads | E | 5.5
Tshwane Munic | Pretoria Area | Munic | Rotate their own loads | HOS | 120
| Middelburg | Munic | Rotate their own loads | HOS | 10
Polokwane Munic | Polokwane Area | Munic | Rotate their own loads | HOS | 10
Rustenburg Munic | Rustenburg Area | Munic | Rotate their own loads | HOS | 20
Tzaneen Munic | Tzaneen Area | Munic | Rotate their own loads | HOS | 30
TOTAL LOAD REDUCTION | [5 empty] | 0 | 0
BLOCK 13
Eskom that Shed Load
ESKOM / MUNIC | Field Service Area | Substation | Feeder / Transformer | Desk | Expected Load Reduction | Actual Load Reduction | Load Difference | Comments
Phalaborwa Munic | Selati TSA | Chemie | Selati 1 33kV | FN | 10
Phalaborwa Munic | Selati TSA | Chemie | Selati 2 33kV | FN | 10
Phalaborwa Munic | Selati TSA | Chemie | Namagale 33kV | FN | 10
TOTAL LOAD REDUCTION | [5 empty] | #REF! | #REF!
Note on D15: Peet: This 88kV Bkr is a common Bkr for Trfr11 A+B
Note on I29: user:Wolfgang Bhomer 083 262 2930